מרכז ידע FEL

"לייזר אלקטרונים חופשיים - קרינת גלים מילימטריים ושימושיה"

“Free Electron Laser – Millimeter Wave Radiation and Applications”

דו"ח מדעי מסכם – שנה רביעית

לתקופת המחקר: 31.12.2006 – 1.1.2006

במימון משרד המדע

מס' חוזה: 01410-01-01

מס' מחקר: 05210995

מוגש ע"י:   מרכז ידע FEL

פרופ' אברהם גובר – מנהל מרכז הידע

פרופ' יוסף פנחסי – חוקר ראשי - פיסיקה

פרופ' אשר יהלום – חוקר ראשי -  מרכז מדעי מרכז משתמשים

הדו"ח הוכן ע"י: פרופ' אשר יהלום

טבת תשס"ז   -  ינואר 2007

INTRODUCTION

FEL knowledge Center is based on the Israeli Free Electron Laser (FEL) facility. The goals of the Center are:

1. Providing millimeter-wave (MMW) radiation for various scientific and technological applications (including biomedical, spectroscopic and material research, imaging etc.).

2. Consultation and assistance in design and set-up of MMW users experiments.

3. Multi-disciplinal students' teaching: electromagnetism, high voltage, RF power, radiation safety etc.

The Israeli electrostatic accelerator FEL (EA-FEL), which is based on an electrostatic Van de Graf accelerator was relocated to Ariel a few years ago and was upgraded to serve a user facility in the framework of the FEL – mm wave knowledge center. In the year 2003 the FEL has returned to operation under a new configuration. In the present FEL, the millimeter-wave radiation, generated in the resonator, is separated from the electron beam by means of a perforated Talbot effect reflector. A quasi-optic delivery system transmits the out-coupled power through a window in the pressurized gas accelerator tank into the measurement room (in the previous configuration, radiation was transmitted through the accelerator tubes with 40 dB attenuation). This makes it possible to transmit useful power out of the accelerator and into the user laboratories.

Following the success of previous years in generating both spontaneous and stimulated high power radiation and the achievement of a FEL world record for relative line width of 10-6. We have concentrated this year on studying the tunability of the FEL and obtaining multiple lasing frequencies. We have also made progress on a novel resonator for the FEL that more robust and has smaller losses than the previous design. The new design will enable the resonator to endure the immense thermal and kinetic pressures that result from the high current - high-energy electron beam and the high power radiation for longer durations thus allowing longer radiation pulses. Further advantages including the lowering of the lasing threshold and the lower thermal pressures which are the result of lower losses. In order to achieve longer pulses and thus higher power and better coherence we have designed and studied better mechanisms for control and stabilization of the terminal voltage. We have shown that by a controlled increase of the terminal voltage one can increase the radiation power significantly  .

In this report we include also further theoretical advancements achieved by the FEL knowledge center researchers those include in addition to the novel radiation power increase schemes also a development of the WB3D simulation code and the analysis of multimode radiation schemes.

The activity of the FEL user center has grown considerably during the passing year, users come both from the academic and industrial sectors. Academic users come from almost all major universities including the College of Judea & Samaria, Hebrew University, Technion, Tel-Aviv University, Bar-Ilan University. Some industrial users are collaborating with the user center through two consortiums supported by the ministry of industry and commerce, those are the Avnet-37 consortium and the consortium for short range communications. Other industrial partners include companies such as Malcam, Elta, Elop and Eyal.

The structure of this report is as follows: first some background is given. Then we overview the experimental advancement with regards to the tunability range of the FEL. Special emphasis was given in this year on obtaining lasing conditions in a broad frequency range from 85 to 105 GHz, the experimental results are described in appendix A. The scientific advancement with respect to pulse elongation, coherence and power boosting technologies is discussed in appendix B. Appendix C is concerned with the study of the analysis and characterization of our new resonator. Following that we discuss theoretical developments by the user center researchers which include new simulation using the WB3D simulation code (Appendix D) for multi mode analysis in grazing and non grazing conditions.

A summary of the user center activities is given in appendix E. We highlight specific activities by given more detailed account. Those include the development of new concepts of FEL IR technologies with Elta (Appendix F). Our work with “Malcam”  for development of methods & systems to study the humidity and temperature of various materials using millimeter waves are described in Appendix G. Our work on the effect of FEL radiation on the biological functioning of different materials with collaboration with Prof. Kornstien from Tel-Aviv university and Dr. Firer from the College of Judea & Samaria is described in Appendix H. Finally our THz experiments under contracts from Avnet-ministry of industry and commerce and ministry of defense are described in Appendix I (transmission mode) and Appendix J (reflection mode).

## BACKGROUND

The Israeli electrostatic accelerator FEL (EA-FEL) is based on a 6 MeV EN-Tandem Van de Graaff accelerator (shown in Figure 1), which was originally used as an ion accelerator for nuclear physics experiments [1]. The scheme employs straight geometry for the electron beam transport, where the electron gun and the collector are installed outside the accelerator region, as illustrated in Fig. 2. Lasing was reported in a previous configuration, where radiation was transmitted through the accelerator tubes with 40 dB attenuation [2-3].

Figure 1: The EN-Tandem electrostatic accelerator of the Israeli FEL.

EMBED PBrush

Figure 2: The EA-FEL scheme.

In the present version of the FEL, which was relocated to Ariel, the millimeter-wave radiation generated in the resonator is separated from the electron beam by means of a perforated Talbot effect reflector [4,5]. A quasi-optic delivery system transmits the out-coupled power through a window in the pressurized gas accelerator tank. The basic parameters of the FEL are summarized in Table 1. The acceleration voltage is set to be Ek=1.4 MeV in order to tune the frequency of the FEL radiation to the W-band.

Table 1: Parameters of the tandem electrostatic accelerator FEL.

| ACCELERATOR: |  |  |
| --- | --- | --- |
|  | Electron beam energy: | Ek=1÷3 MeV |
|  | Beam current: | I0=1÷2 A |
| UNDULATOR: |  |  |
|  | Type: | Magneto-static planar wiggler |
|  | Magnetic induction: | BW=2 kGauss |
|  | Period length: | λW=4.444 cm |
|  | Number of periods: | NW=20 |
| RESONATOR: |  |  |
|  | Waveguide: | Curved-parallel plates |
|  | Transverse mode: | TE01 |
|  | Round-trip length: | LC=2.62 m |
|  | Out-coupling coefficient: | T=7% |
|  | Total round-trip reflectivity: | R=65% |

References

1. A. Gover, E. Jerby, H. Kleinman, I. Ben-Zvi, B. V. Elkonin, A. Fruchtman, J. S. Sokolowski, B. Mandelbaum, A. Rosenberg, J. Shiloh, G. Hazak, O. Shahal, Nucl. Instrum. Methods A 296, (1990), 720.

2. A. Abramovich, M. Canter, A. Gover, J. S. Sokolovski, Y. M. Yakover, Y. Pinhasi, I. Schnitzer, J. Shiloh, Phys. Rev. Lett. 82, (1999), 6774.

3. A. Abramovich, et al., Appl. Phys. Lett. 71, (1997), 3776.

4. I. Yakover, Y. Pinhasi, A. Gover, Nucl. Inst. Meth. Phys. Res. A 445, (1996), 260.

5. B. Kapilevich , A. Faingersh, A. Gover, Microwave and Optical technology Lett. 36, (2003), 303.

6. Y. Pinhasi, Yu. Lurie, Phys. Rev. E 65, (2002), 026501.

7. Y. Pinhasi, Ph.D. dissertation (1995).